Commonwealth of Virginia

Department of General Services

Division of Consolidated Laboratory Services

Richmond, Virginia

Drinking Water Sample Collection Guide

[image: image24.jpg]DCLS




Division of Consolidated Laboratory Services

600 N. 5th Street
Richmond, Virginia 23219
(804) 648-4480

[image: image25.png]DIVISION OF CONSOLIDATED LABORATORY SERVICES
600N Sth Szt Richmond, Va 23219
(804 (484480 Ext 141 (866) 4931087

Maiing Address ADDRESS CHANGE

CHRIS DIETER i —

ROCK HARBOR GOLF COURSE

365 ROCK HARBOR DR N -

'WINCHESTER, VA 22602 Address 0000000000000

iy st zp
KitOrder# 116304 FEE 2023 Qtr4 Sample Type KT
uvss E20900s7s
PWSID VA2069647 FordLs TR
‘Waterworks  ROCK HARBOR GOLF COURSE Use Only | 206-062 MW COLIPA
Faciity SOOI DISTRIBUTION SYSTEM
BACT - PA
which add o the water st i e e

o th chlarin resdusl e on e r ¢ te tan the sample & callected.

ocson
Collected By

PhoncNumber ()

DT Callected L e

i)
Chlorine Residusl mgfl) Qe OTout
Ficld Tusbidity (LT2 Only)

Oriinal LIMS #

gical Sample Must be Received Witl

30 Hours of C

+ FILLIN COLLECTION DATE/TIME AND ATTACH A LABEL TO EACH BOTTLE **

e )





General Sampling Information
3
Example Bacteriological Submission Form
4
Example Chemical Submission Form
5
General Guidelines for Collection
6
Packaging Instructions
7
Shipping Instructions
8
Bacteriological Test-Specific Instructions
Presence Absence (PA)
9
Most Probable Number Quanti-Tray (MPN QT)
9
Long Term 2 Enhanced Surface Water Treatment Rule (LT2)
10
Chemistry Test-Specific Instructions
Fluoride (FLR)
11
Lead and Copper (L&C)
12
Metals (MET)
13
Nitrates/Nitrites (NN)
14
Radiology (RAD)
15
[image: image26.png]DIVISION OF CONSOLIDATED LABORATORY SERVICES

600N Sth Street. Richmond, Va 23219

(804 6484480 Ext 141 (560 931087
Mailng Address ADDRESS CHANGE

VICTOR TALBOT Name

ONANCOCK. TOWN OF )

15 NORTH ST © ¥

ONANCOCK. VA 23417 Address

iy stz

KiOnder s 115891 FEE 2023 Qtr 4 SampleType ST
[TV ——
[T ————— Forpets [T
‘Waterworks  ONANCOCK, TOWN OF Use Only | 206-011 FLUORIDE
Facilty  EPOO3 HARTVAN ENTRY POINT

Location BASE OF TANK.

Collected By
Phone Number (. )
DateTime Collected
“Miliary Time
Please complete for Lead & Copper or Fuoride Samples
LeadCopper ‘Fluoride (Check one
Matches . SPADNS
Iabelon Date Last Used E (E]nlomnemc SPADNS
o — 8 ety
ity Tome mgL
++ FILLIN COLLECTION DATE/TIME AND ATTACH A LABELTO EACH BOTTLE **
ColctionDue Tine@4)
ey R

LTI
206011 FLUORIDE 24





Uranium
16
Carbamates (CARB)
17
[image: image27.jpg]


Cyanide (CYN3)
18
Disinfectant By-Products (DISINFECT)
19
Diquat (DIQT)
20
Fumigants (FUMI)
21
Haloacetic Acid (HAA5)
22
Herbicides (HERB)
23
Inorganics (INO)
24
Inorganics/Hardness (INO/HARD)
25
Semi-Volatile Organic Compounds (SOC)
26
Specific Ultraviolet Absorbance (SUVA)
27
Trihalomethanes (THM)
28
Total Organic Carbon (TOC)
29
Total Organic Carbon/ Alkalinity (TOCAL)
30
Unpreserved Nitrite (UNN)
31
Volatile Organic Compounds (VOC)
32
GENERAL SAMPLING INFORMATION

Shipments
Each shipment should include a plastic Ziploc bag containing the Customer Order and Sample Requisition Form(s). 

A. Please verify receipt of the correct sampling and packing components by using the visual aids and instructions below which correspond to the kit type(s) you have ordered.

B. BEFORE SAMPLING please check the sample container for any kind of damage, contamination, or other issues. If the kit arrives to you in an unsatisfactory condition, DCLS will replace it free of charge.
C. Between receipt of the kit from DCLS and sampling, please store the kits in dry, clean conditions. Kits should be stored in a climate-controlled space to avoid any accumulation of moisture or contamination. 

D. The kit expiration date is provided on the top of kit by the lot sticker. Samples submitted after this date will be rejected by the laboratory. A replacement fee may be required.

Sample Requisition Form (See example forms on Page 4-5)
A Sample Requisition Form for each sample kit is provided in the shipment (See examples on page 4 and 5). The kit name listed on the form should match the label on the sample container. Legibly fill in the general information fields in the form’s center box, including:
“Location” – where the sample was collected.
“Collected By” – the individual who collected the sample.
“Phone Number” – the best number of contact, including area code.
“Date/ Time Collected” – the full date (MM-DD-YY) and time (military time) sample was collected.
Some kits may require additional information specific to the sample type.
Each Sample Requisition Form contains a peel-off label with a barcode to be placed on the accompanying sample container. Write the information from the “Date/Time Collected” field on the label and then place the label on the sample. Please write legibly with a ballpoint pen.
Note: For collection time, use 24-hour military time, i.e. add 12 hours to a civilian time between noon and midnight.
	Civilian
	Military
	Civilian
	Military
	Civilian
	Military

	6:00 AM
	0600
	12:00 Noon
	1200
	5:00 PM
	1700

	7:30 AM
	0730
	1:00 PM
	1300
	7:25 PM
	1925

	9:00 AM
	0900
	3:25 PM
	1525
	9:00 PM
	2100


EXAMPLE BACTERIOLOGICAL SUBMISSION FORM

[image: image28.jpg]




EXAMPLE CHEMICAL SUBMISSION FORM



GENERAL GUIDELINES FOR SAMPLE COLLECTION
This section outlines the general steps for collecting Drinking Water Samples. Specific steps for individual sample types are noted below (see Table of Contents - pg. 2).
1. Do not sample from leaking taps. If your collection site is questionable in some way, consult your local Virginia Department of Health (VDH) Office of Drinking Water (ODW) field office representative before sampling.

2. When using the label from the Sample Requisition Form, please place vertically (aligned with the length of the sample bottle). This assists the lab in sample handling.

3. Use a ballpoint ink pen or permanent ink to write on sample labels. Gel pens will run or smear upon packaging and transport, making the label illegible.

4. Each type of sample in this guide has a specific “Holding Time”. This is the length of time that the sample is considered valid after collection. The holding time for a sample begins at the date and time collected and ends at the start of laboratory analysis.

Note: Samples received out of holding time will be rejected on the grounds that the sample condition is unsatisfactory to meet the Safe Drinking Water Act requirements. Please be aware of your sample’s holding time and how long transportation of the sample will take when sending it to DCLS for testing.

5. The sample containers provided to you are free of contaminants and many include a preservative. To avoid contamination and preservative loss, do not rinse or overfill any containers. Additionally, please be sure not to touch the sample container directly to the pipe or faucet from which you collect. 
Note: Acids and bases used as preservatives must be handled with care during collection. Kits which contain these preservatives have been noted below.
6. DCLS will only accept kits provided by DCLS. 

SAMPLE REJECTION CRITERIA
DCLS rejects samples submitted in improper condition such as:
1. The peel-off label on the sample container does not match the information on the Sample Form (i.e. barcodes, numbers).
2. Collection information on the form and bottle label is incomplete.
3. The sample was received outside of the holding time for the test to be performed.
4. Insufficient sample volume.
5. Expired kit.
6. Samples requiring a temperature preservation – received above 6.0oC after the day of collection.
7. Bacteriological samples – soapy or bleach residue in or on sample bottle.
8. Broken, cracked, or leaking sample container.
PACKAGING INSTRUCTIONS
For kits that include a Mailing Sleeve (BACT, FLR, NN, MET, and URANIUM only):

1. Enter your return address on the mailing sleeve address label.
2. Put the sample bottle in the small bubble bag with the absorbent pad, close the bubble bag, and place this in the mailing sleeve.
3. Fold the Sample Form and place it in the mailing sleeve (not inside the bubble bag in case of leaks). Please do not tape the mailing container.
For kits that require cooling (LT2, CARB, CYN3, DISINFECT, DIQT, FUMI, HAA5, HERB, INO/HARD, SOC, SUVA, THM/VOC, TOC, TOCAL, and UNN):

1. If your kit container is made of glass, we will provide materials to keep them safe during shipment.
THM, VOC, HAA5 Samples:
You should have a foam rack included in your kit. Snugly fit your sample vials in the rack. 
CARB, CYN3, DISINFECT, FUMI, HERB, SOC, TOC Samples:

Your kit should include bubble wrap. Use this to cushion your sample during transport. 

	2. Surround your sample with as much ice as can fit in your cooler and still close. This will prevent your sample from being rejected for not meeting temperature requirements. Your cooler will also come with a small temperature probe bottle filled with dyed red water for measuring the arrival temperature of your samples. Please do not remove this from the cooler.
	[image: image1.jpg]





3. Close the Styrofoam cooler, place the sample form(s) on the top of the cooler lid, then close the outer shipping box with tape.

4. Place the blue DCLS address label on the shipping container.

For Lead & Copper and RAD Kits:

Lead & Copper and RAD samples do not require temperature preservation and, therefore, do not need to be packed with ice. For these samples, you may simply ship them back in the same box you received from DCLS.

SHIPPING INSTRUCTIONS
Ship your sample(s) to DCLS using one of the following methods:

DCLS Courier Service – Recommended 
Visit the DCLS website (www.dgs.virginia.gov/dcls) and choose “Courier List” from the menu on the left under resources or call us at (804)-648-4480 ext. 138 to determine the nearest courier pick up location. This service is free of charge and ensures that your sample will arrive at DCLS on the next business day.

UPS, FedEx, or Personal Carrier 

Ship To: 

Division of Consolidated Laboratory Services 

Attn: Sample Receiving

600 N. 5th Street
Richmond, VA 23219-1439

In order to keep the cost of testing down, we ask you to please arrange for shipment of all routine Drinking Water Samples to ARRIVE at the lab during regular business hours, Monday through Thursday. Compliance with this request ensures that your samples will be processed when the laboratory is fully staffed and operating at full capacity.
Note: Samples may be rejected and not replaced free of charge if multiple attempts to submit samples occur on Fridays, after business hours, or during Holiday weeks.

Below is a list of observed State Holidays. Please avoid sending samples with short holding times during the week of a State Holiday. This will ensure all samples are processed within EPA required holding times and arrive at the correct temperatures. If the laboratory is unable to process a sample due to an expired holding time or improper temperature, the sample will be rejected and the water supply will be required to collect another sample.
New Year’s Day

MLK Jr. Day

President’s Day

Memorial Day

Juneteenth

Independence Day

Labor Day

Columbus Day

Election Day

Veterans Day

Thanksgiving

Black Friday

Christmas Eve

Christmas Day
The Governor may close state offices for extraordinary events at their discretion. Courier schedule alterations are posted on the DCLS website (www.dgs.virginia.gov/dcls) under “Courier Updates” whenever possible. DCLS attempts to continue usual operations during inclement weather events but cannot guarantee delivery receipt. If a cancellation occurs and causes samples to be rejected, replacement kits will be sent free of charge.
Presence / Absence (PA) & Most Probable Number Quanti-Tray (MPN QT)

	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	BACT
	VERY SHORT: 30 hours
Only submit Mon-Thurs
	Not Applicable
	One (1) sterile, 120mL bottle containing Sodium Thiosulfate (Na2S2O3) preservative, with graduation at the 100mL volume. 

Sodium Thiosulfate SDS


COLLECTION INSTRUCTIONS
1. Remove faucet attachments such as screen or splash guard.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. (Perform the chlorine residual test, if necessary.)
3. Carefully remove the bottle cap. Do not touch the inside of the cap or rim at the top of the bottle.
4. Fill the bottle to about a half-inch above the 100mL line. If you do not fill to at least the 100mL line, your sample will be rejected as QNS (Quantity Not Sufficient). Leave some airspace between the cap and the sample to allow mixing in the laboratory.
5. The peel-off label adheres better to a dry bottle. Dry the outside of the sample bottle and remove the completed label from the form. Place the label on the container vertically.
Long Term 2 Enhanced Surface Water Treatment Rule (LT2)
[image: image2.jpg]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	LT2
	VERY SHORT: 30 hours
Only submit Mon-Thurs
	Yes 

(See shipping instructions)
	One (1) sterile, 150mL bottle, with graduation at the 100mL volume.


COLLECTION INSTRUCTIONS
1. Collect the sample before chemical treatment. This includes the addition of coagulants, oxidants, and disinfectants.
2. If filter backwash water is recycled in the system to be collected from, collect the sample at a point before the addition of the backwash water.
3. Collect the sample only from a location that has been approved by the Office of Drinking Water.
4. Remove faucet attachments such as screen or splash guard.
5. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 
6. Measure the turbidity and record it on the Sample Requisition Form (example on pg. 4).
7. Carefully remove the bottle cap. Do not touch the inside of the cap or rim at the top of the bottle.
8. Fill the bottle to about a half-inch above the 100mL line. If you do not fill to at least the 100mL line, your sample will be rejected as QNS (Quantity Not Sufficient). Leave some airspace between the cap and the sample to allow mixing in the laboratory.
9. The peel-off label adheres better to a dry bottle. Dry the outside of the sample bottle and remove the completed label from the form. Place the label on the container vertically.
Fluoride (FLR)

	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	FLR
	28 days
	Not Applicable
	One (1) 20mL plastic vial.


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 
3. Carefully remove the cap from the sample container. Do not touch the inside of the cap or rim at the top of the bottle. 
4. Fill the container completely, including as little air as possible.
5. Apply the cap to the container tightly. Invert the container to check for leaks.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
Lead and Copper (L&C)

[image: image3.png]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	L&C
	14 days
	Not Applicable
	One (1) 1-Liter plastic, wide-mouth bottle.


COLLECTION INSTRUCTIONS
1. Sampling for L&C requires at least six (6) hours during which no water is used from the tap being sampled in addition to any nearby taps. Record the Time/ Date Last Used on the Sample Requisition Form (see example on pg. 5).
DO NOT FLUSH THE TAP BEFORE THE SIX-HOUR PERIOD OF NON-USE
2. Use a kitchen or bathroom cold water tap for sampling. Be sure not to sample from a tap with a water softener and do not remove the aerator before sampling.
3. Place the bottle below the faucet and open the cold water tap. Fill the container completely to the neck under the threads. 
4. Apply the cap to the container tightly. Invert the container to check for leaks.
5. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
6. If plumbing repairs have been made since the previous sampling, note this on the sample form.
Metals (MET)
[image: image4.png]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	MET
	28 days
	Not Applicable
	One (1) 250mL Nalgene wide-mouth bottle containing Nitric Acid (HNO3) preservative.
Nitric Acid SDS



COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

3. Carefully remove the cap from the sample container. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. After collection, rinse hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container completely, including as little air as possible. DO NOT OVERFILL. This may cause the preservative to spill out
5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.

Nitrates/ Nitrites (NN)
[image: image5.png]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	NN
	28 days
	Not Applicable
	One (1) 125mL Nalgene wide-mouth bottle containing 6N Sulfuric Acid (H2SO4) preservative.
Sulfuric Acid SDS



COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

3. Carefully remove the cap from the sample container. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. After collection, rinse hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container completely, including as little air as possible. DO NOT OVERFILL. This may cause the preservative to spill out. 

5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
Radiological (RAD)
[image: image6.png]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	RAD
	5 days
	Not Applicable
	One (1) 3.785L plastic cubitainer. 


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

3. Carefully remove the cap from the sample container. Do not touch the inside of the cap or rim at the top of the bottle. 
4. Fill the container completely, including as little air as possible.
5. Apply the cap to the container tightly. Invert the container to check for leaks.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container.
Uranium (URANIUM)
[image: image7.jpg]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	URANIUM
	6 Months
	Not Applicable
	One (1) 250mL Nalgene wide-mouth bottle containing Nitric Acid (HNO3) preservative.

Nitric Acid SDS



COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

3. Carefully remove the cap from the sample container. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. After collection, rinse hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container completely, including as little air as possible. DO NOT OVERFILL. This may cause the preservative to spill out.
5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
Carbamates (CARB)
[image: image8.jpg]| CARBJ CARB




	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	CARB
	28 days
	Yes 

(See shipping instructions)
	Two (2) 40mL amber glass vials containing Sodium Thiosulfate (Na2S2O3) and Chloroacetic acid (ClCH2CO2H) preservatives.
Sodium Thiosulfate SDS & Chloroacetic Acid SDS



COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream of about a 1/4 inch (pencil size) diameter. 

3. Carefully remove the cap from the sample container. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. After collection, rinse hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container until the water bulges slightly over the top of the vial’s rim. DO NOT OVERFILL. This may cause the preservative to spill out.
5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
7. Repeat steps 3-6 for the remaining sample vial. 
8. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Cyanide (CYN3)
[image: image9.png]Feseea i -
PReseavarves 7' g





	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	CYN3
	14 days
	Yes 

(See shipping instructions)
	· One (1) 250mL narrow-mouth amber glass bottle containing Sodium Hydroxide (NaOH) preservative. Sodium Hydroxide SDS
· One (1) 40mL clear glass vial containing Sodium Arsenite (NaAsO2) preservative.
Sodium Arsenite SDS



COLLECTION INSTRUCTIONS
1. If the sample contains chlorine, add the Chlorine Neutralizing vial contents to the sample container before collecting the sample. If the sample DOES NOT contain chlorine, do not add the Chlorine Neutralizing vial. CAUTION: HANDLE WITH CARE. Do not rinse containers. After collection, rinse hands thoroughly. Keep away from eyes and other sensitive areas.
2. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
3. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

4. Carefully remove the cap from the sample container. Do not touch the inside of the cap or rim at the top of the bottle. 
5. Fill the container completely, including as little air as possible. DO NOT OVERFILL. This may cause the preservative to spill out.
6. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
7. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
8. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Disinfectant By-Products (DISINFECT)
[image: image10.jpg]DSINFECTANT BY PRODUCT
Beserved with 0.125 mio P44
Mgty o not allow prese™™ (5
skin.
Presarveat4*C

“ §
T hnse prescrvanves ' 8





	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	DISINFECT
	14 days
	Yes 

(See shipping instructions)
	One (1) 250mL narrow-mouth, amber glass bottle containing Ethylenediamine (EDA) preservative. Ethylenediamine SDS



COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

3. Carefully remove the cap from the sample container. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. After collection, rinse hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container completely, including as little air as possible. DO NOT OVERFILL. This may cause the preservative to spill out.
5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
7. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Diquat (DIQT)
[image: image11.png]DCLS112851





	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	DIQT
	7 DAYS
	Yes 

(See shipping instructions)
	Two (2) 250mL opaque Nalgene bottles containing Sulfuric Acid (H2SO4) and Sodium Thiosulfate (Na2S2O3) preservatives.
Sodium Thiosulfate SDS & Sulfuric Acid SDS


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

3. Carefully remove the cap from one sample container. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. Wash hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container completely, including as little air as possible. DO NOT OVERFILL. This may cause the preservative to spill out.
5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
7. Repeat steps 3-6 for the remaining sample bottles.
8. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Fumigants (FUMI)

[image: image12.jpg]UM TR





	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	FUMI
	14 days 
	Yes

(See shipping instructions)
	Two (2) 60mL clear glass vials containing Phosphate buffer and Ammonium Chloride (NH4Cl) preservatives.

Sodium Phosphate, Dibasic SDS
Potassium Phosphate, Monobasic SDS
Ammonium Chloride SDS



COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream of about a 1/4 inch (pencil size) diameter. 

3. Carefully remove the cap from one sample vial. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. Wash hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container until the water bulges slightly over the top of the vial’s rim. DO NOT OVERFILL. This may cause the preservative to spill out.
5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
7. Repeat steps 3-6 for the remaining sample vial. 
8. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Haloacetic Acid (HAA5)
[image: image13.png]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	HAA5
	14 days
	Yes

(See shipping instructions)
	Two (2) 60mL amber glass vials containing Ammonium chloride (NH4Cl) preservative.

Ammonium Chloride SDS


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream of about a 1/4 inch (pencil size) diameter. 

3. Carefully remove the cap from one sample vial. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. Wash hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container until the water bulges slightly over the top of the vial’s rim. Do not overflow the container.

5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
7. Repeat steps 3-6 for the remaining sample vial. 
8. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Herbicides (HERB)
[image: image14.png]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	HERB
	14 days
	Yes

(See shipping instructions)
	Two (2) 250mL narrow-mouth, amber glass bottles containing Sodium Sulfite (Na2SO3) preservative. Sodium Sulfite SDS



COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

3. Carefully remove the cap from one sample container. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. Wash hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container completely, including as little air as possible.
5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
7. Repeat steps 3-6 for the remaining sample bottle.
8. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Inorganics (INO)
[image: image15.png]Tan

&





	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	INO
	VERY SHORT: 48 hours
Only submit Mon-Thurs 
	Yes

(See shipping instructions)
	One (1) 1.89L plastic container.


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

3. Fill the 1.89L container. Check for leaks, then label. 
4. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Inorganics/Hardness (INO/HARD)
[image: image16.png]INOLHARD
)
DCLS113912





	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	INO/HARD
	VERY SHORT: 48 hours
Only submit Mon-Thurs
	Yes

(See shipping instructions)
	· One (1) 1.89L plastic container. 

· One (1) 250mL Nalgene wide-mouth bottle containing Nitric Acid (HNO3) preservative. Nitric Acid SDS


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

3. Carefully remove the cap from the 250mL bottle labeled “Hardness.” Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. Wash hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container completely, including as little air as possible.
5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically. 

7. Fill the 1.89L container from the same source as the Hardness bottle. Check for leaks, then label this container as well. You do not need to shake this container, as there is no preservative to mix in this bottle.
8. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Semi-Volatile Organic Compounds (SOC)
[image: image17.png]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	SOC
	14 days
	Yes

(See shipping instructions)
	· Two (2) empty 1-Liter narrow-mouth amber glass bottles containing Sodium Sulfite (Na2SO3) preservative. Sodium Sulfite SDS
· Two (2) 10mL clear preservative vials containing Hydrochloric Acid (HCl) preservative. Hydrochloric Acid SDS
· One (1) 1-Liter pre-filled field blank


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.

2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

3. Carefully remove the cap from one of the empty sample bottles –do not open the field blank- and fill about 3/4 full. Be careful not to allow the sample to contact any plastic.

4. Tightly cap the container, invert to check for leaks, and then shake vigorously for one (1) minute.
5. Carefully add the contents of one (1) preservative vial to the collected sample and shake vigorously for an additional minute. Take care not to add preservative to the field blank. CAUTION: HANDLE WITH CARE. Preservative vials contain 1:1 hydrochloric acid. Rinse hands thoroughly

6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
7. Repeat steps 3-6 for the second sample container.
8. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Specific Ultraviolet Absorbance (SUVA)
[image: image18.png]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	SUVA
	VERY SHORT: 48 hours
Only submit Mon-Thurs
	Yes

(See shipping instructions)
	· One (1) 250mL narrow-mouth, amber glass bottle. 
· Two (2) 40mL clear glass sample vials containing Sulfuric Acid (H2SO4) preservative.
Sulfuric Acid SDS


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five minutes, then adjust the flow to a slow, even stream of about a 1/4 inch (pencil size) diameter. 

3. Carefully remove the cap from one 40mL clear glass sample vial. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. Wash hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container to the top of the vial’s rim. Do not overflow the container.

5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
7. Repeat steps 3-6 for the remaining sample vial.

8. For the 250mL amber glass bottle, follow steps 1-3, then fill the container to the neck under the threads, leaving as little air as possible. Then proceed to step 6 (there is no preservative in the 250mL amber bottle, so mixing is not required).

9. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Trihalomethanes (THM) 

[image: image19.png]R
BT T
- SN

N

N

S A a»:rztwm
at\., R

IR




 
	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	THM
	14 days
	Yes

(See shipping instructions)
	· Two (2) empty 40mL clear glass vials containing Ascorbic Acid (C6H8O6) preservative.
Ascorbic Acid SDS
· Two (2) 12mL preservative vials containing Hydrochloric acid (HCl) preservative. Hydrochloric Acid SDS



COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the tap for at least five minutes, then adjust the flow to about a 1/4 inch (pencil size) diameter.
3. Carefully remove the cap from one empty sample vial. Do not touch the inside of the cap or rim at the top of the bottle. 
4. Angle the vial to allow the water to flow down the wall of the container and fill to about two-thirds full.
5. Add the contents of one of the 12mL preservative vials. CAUTION: HANDLE WITH CARE. Preservative vials contain 1:1 hydrochloric acid. Rinse hands thoroughly in case of spill.
6. Slowly add more water to the vial until the water bulges over the rim. Do not overflow.
7. Cap the vial securely. Invert to check for leaks and air bubbles. If any air is left in the container, add more water until no bubbles appear.
8. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
9. Repeat steps 3-8 for the remaining empty sample vial.
10. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Total Organic Carbon (TOC)
[image: image20.jpg]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	TOC
	28 days
	Yes

(See shipping instructions)
	Two (2) 40mL clear glass vials containing Sulfuric Acid H2SO4 preservative. Sulfuric Acid SDS


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream of about a 1/4 inch (pencil size) diameter. 

3. Carefully remove the cap from one sample vial. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. Wash hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container until the water bulges slightly over the top of the vial’s rim. Do not overflow the container.

5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
7. Repeat steps 3-6 for the remaining sample vial. 
8. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Total Organic Carbon/ Alkalinity (TOCAL)
[image: image21.png]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	TOCAL
	14 days
	Yes

(See shipping instructions)
	· Two (2) 40mL clear glass vials Sulfuric Acid H2SO4 preservative. Sulfuric Acid SDS
· One (1) 250mL plastic cylinder bottle.


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream of about a 1/4 inch (pencil size) diameter. 

3. Carefully remove the cap from one sample vial. Do not touch the inside of the cap or rim at the top of the bottle. CAUTION: HANDLE WITH CARE. Do not rinse containers. Wash hands thoroughly in the case of any chemical spills. Keep away from eyes and other sensitive areas.
4. Fill the container until the water bulges slightly over the top of the vial’s rim. Do not overflow the container.

5. Apply the cap to the container tightly. Invert the container to check for leaks and then shake vigorously for one (1) minute to mix the sample with preservative.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
7. Repeat steps 3-6 for the remaining sample vial and alkalinity bottle.
8. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Unpreserved Nitrite (UNN)
[image: image22.jpg]



	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINER

	UNN
	VERY SHORT: 48 hours
Only submit 
Mon-Thurs
	Yes

(See shipping instructions)
	One (1) 125mL Nalgene wide-mouth bottle. 


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the faucet for at least five (5) minutes, then adjust the flow to a slow, even stream so that the water is not aerated during collection. 

3. Carefully remove the cap from the sample container. Do not touch the inside of the cap or rim at the top of the bottle. 
4. Fill the container completely, including as little air as possible.
5. Apply the cap to the container tightly. Invert the container to check for leaks.
6. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
7. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigerator.
Volatile Organic Compounds (VOC) 

[image: image23.png]N b & St~
B o Mobeag





	CODE
	HOLDING TIME
	SHIP WITH ICE?
	SAMPLE CONTAINERS

	VOC
	14 days


	Yes

(See shipping instructions)
	· Two (2) empty 40mL clear glass vials containing Ascorbic Acid preservative (C6H8O6). 
Ascorbic Acid SDS
· Two (2) 12mL preservative vials containing Hydrochloric acid (HCl) preservative. Hydrochloric Acid SDS
· Two (2) 40mL clear, glass, pre-filled field blanks.


COLLECTION INSTRUCTIONS
1. Remove all faucet attachments (i.e. screen, splash guard, aerator, filter, etc.) and sample from a cold water tap.
2. Flush the tap for at least five (5) minutes, then adjust the flow to about a 1/4 inch (pencil size) diameter.
3. Carefully remove the cap from one empty sample vial - do not open the field blank. Do not touch the inside of the cap or rim at the top of the bottle. 
4. Angle the vial to allow the water to flow down the wall of the container and fill to two-thirds full.
5. Add the contents of one (1) of the 12mL preservative vials. CAUTION: HANDLE WITH CARE. Preservative vials contain 1:1 hydrochloric acid. Rinse hands thoroughly in case of spill.
6. Slowly add more water to the vial until the water bulges over the rim. Do not overflow.
7. Cap the vial securely. Invert to check for leaks and air bubbles. If any air is left in the container, add more water until no bubbles appear.
8. The peel-off label adheres better to a dry container. Dry the outside of the sample and remove the completed label from the form. Place the label on the container vertically.
9. Repeat steps 3-8 for the remaining empty sample vial.
10. If samples must be stored before shipment to DCLS, keep them in a contaminant-free refrigeration.
TABLE OF CONTENTS





REQUIRES


TEMPERATURE


PRESERVATION





Complete label. Peel and place on sample container.





SPECIFIC TEST TYPE HERE





“PWSID NAME”





VA1234567





E123456789





SPECIFIC TEST TYPE HERE





E123456789





SPECIFIC TEST TYPE HERE





Enter address changes here





JOHN DOE


PUBLIC WATER WORKS


1234 RICHMOND AVE


RICHMOND, VA 23219





Legibly PRINT these fields. Date and time must match the label.





LT2 ONLY


Enter field turbidity. 





If applicable, select the residual chlorine type observed at collection


 (Free or Total) 


and write the amount (mg/L).





For Lead/Copper or Fluoride samples, complete the applicable sections.





Complete label(s). Peel and place on sample container(s).





SPECIFIC TEST TYPE HERE





E123456789





SPECIFIC TEST TYPE HERE





Legibly PRINT these fields. Date and time must match the label.





SPECIFIC TEST TYPE HERE





“PWSID NAME”





VA1234567





E123456789





Enter address changes here











JOHN DOE


PUBLIC WATER WORKS


1234 RICHMOND AVE


RICHMOND, VA 23219








Document #:15538
Revision: 7
Date Published: 02/12/24
Issuing Authority: Group Manager

Page 1 of 32      

Title: Drinking Water Sample Collection Guide
Document #:15538
Revision: 7
Date Published: 02/12/24
Issuing Authority: Group Manager

Page 15 of 32      


