Commonwealth of Virginia

Department of General Services

Division of Consolidated Laboratory Services

Richmond, Virginia

Chapter 45 Lab Assessment Records Review List

All records listed on this form must be readily available for review during the VELAP assessment. These records will be reviewed spanning the period back to the previous assessment date.

This Records Review List may be a helpful tool for an internal audit of the laboratory’s quality system by reviewing records spanning the period back to the previous internal audit.  Each reference to the regulation should be reviewed and then the associated record(s) evaluated to determine if the records meet the specified requirement(s).  Note that annual internal audits must also review test methods performed by the laboratory.  
	[image: image1.emf]


	Line #
	2016 TNI Reference
	Record Type
	Comment/Notes

	
	1 
	1VAC30-45-500, 510, 520, 660 B 6
	Proficiency Test sample results (raw data, reports, corrective action for failed PTs)
	

	
	2 
	1VAC30-45-660 D 3
	Signature/ initial log for all individuals responsible for signing or initialing laboratory records
	

	
	3 
	1VAC30-45-220 E
	Personnel qualifications, experience and training
	

	
	4 
	1VAC30-45-610  
	Current laboratory Quality Manual
	

	
	5 
	1VAC30-45-730 A-D
	All SOPs for compliance testing, as well as SOPs which address Quality System topics
	

	
	6 
	1VAC30-45-730 E, F, G
	Demonstrations of  capability (DOCs):  all initial DOCs and ongoing DOCs performed since previous VELAP assessment
	

	
	7 
	1VAC30-45-850 1
	Sample receipt records/ log(s)
	

	
	8 
	1VAC30-45-670 A, C, D
	Internal audits (since last assessment)
	

	
	9 
	1VAC30-45-640 G, 730 K 
	Documentation of validation for software developed by the user
	

	
	10 
	1VAC30-45-640 A, C, F
	Temperature records demonstrating that original and corrected temperature have been recorded in a manner that allows verification of the application of any required correction factor, or indicates no correction factor was needed; temperature records are traceable to the thermometer used and the calibration of the thermometer used
	

	
	11 
	1VAC30-45-670 B, C, D
	Management review (since last assessment)
	

	
	12 
	1VAC30-45-670 D
	Corrective action reports (since last assessment)
	

	
	13 
	1VAC30-45-700
	Complaints (since last assessment)
	

	
	14 
	1VAC30-45-680 
	Subcontractor register/ records demonstrating that subcontractor requirements have been met 
	

	
	15 
	1VAC30-45-760 B 1, 2
	Limit of Detection records (initial and ongoing) for applicable methods; quarterly monitoring data as applicable
	

	
	16 
	1VAC30-45-860 
	Client report(s) for method/ matrix for which certification is sought
Specify FOC(s)/ date range of reports:

______________________________________
______________________________________

______________________________________

______________________________________

______________________________________

______________________________________

______________________________________


	

	
	17 
	
	
	


 Additional Comments / Notes:

Document #:6979
Revision: 6
Date Published: 03/30/23
Issuing Authority: Group Manager

Page 1 of 2      

Title: Chapter 45 Lab Assessment Records Review List
Document #:6979
Revision: 6
Date Published: 03/30/23
Issuing Authority: Group Manager

Page 2 of 2      


