Commonwealth of Virginia

Department of General Services

Division of Consolidated Laboratory Services

Richmond, Virginia

Tuning Fork Laboratory Quality Manual Checklist

	Facility Name:______________________________________________________________​_________   LAB ID: _______________

	REFERENCE DOCUMENT 

DCLS #2364:  PROTOCOL FOR THE CERTIFICATION OF LABORATORIES PERFORMING CERTIFICATION OF TUNING FORKS
LABORATORY INSTRUCTIONS

RECORD THE QUALITY MANUAL OR SOP PAGE NUMBER AND SECTION NUMBER IN THE “LABORATORY REFERENCE” COLUMN INDICATING WHERE EACH REQUIREMENT CAN BE FOUND.   RETURN THIS COMPLETED FORM TO DCLS PRIOR TO THE ON-SITE EVALUATION ALONG WITH A CURRENT COPY OF THE QUALITY MANUAL.  

	 Protocol for the Certification of Laboratories Performing Certification of Tuning Forks, Section V.B. 

 At a minimum, the following information must be included or referenced in the Quality Manual:

	#
	Protocol

Reference
	Quality Manual Requirement
	Laboratory

Reference
	DCLS INTERNAL USE ONLY  

	
	
	
	
	Document Compliant
	Assessor’s Notes

	1
	§V.B.1
	Company name and address
	
	
	

	2
	§V.B.2
	Statements affirming the laboratory’s commitments to quality assurance and data integrity
	
	
	

	3
	§V.B.3
	Minimum personnel qualifications including education and any specialized training in communications electronics, radar calibration and repair, or frequency measurement
	
	
	

	4
	§V.B.4
	Log of printed names, handwritten initials and signatures of all laboratory personnel authorized to perform tuning fork testing, data review, and/or certificate notarization
	
	
	

	5
	§V.B.5
	List of all testing equipment—including manufacturer, model, and serial number—used in the certification procedure
	
	
	

	6
	§V.B.6
	Information describing the accuracy, range and reproducibility for each instrument and item of support equipment used for the testing and certification of tuning forks 

NOTE: An excerpt from the instrument manual with this information will satisfy this requirement.
	
	
	

	7
	§V.B.7
	Corrective Action Policy for response when instrumentation fails to meet fitness for use acceptance criteria
	
	
	

	8
	§V.B.8
	Schedules for instrument calibration and maintenance including requirements for documenting calibration and maintenance
	
	
	

	9
	§V.B.9
	Description of circumstances that would require 
recertification of reference tuning forks
	
	
	

	10
	§V.B.10
	Description of processes and procedures for ensuring traceability of measurements to nationally recognized standards
	
	
	

	 Notes/Comments


	#
	Protocol

Reference
	Quality Manual Requirement
	Laboratory

Reference
	DCLS INTERNAL USE ONLY  

	
	
	
	
	Document Compliant
	Assessor’s Notes

	Description of procedures being performed, equipment being used, calculations, and examples, adjustments (if any), and references.  This information may be included in the Quality Manual or may be a separate Standard Operating Procedure (SOP).  At a minimum, the information shall include [Section V.B.11]:

	11
	§V.B.11.a
	Sample receiving and tracking procedures
	
	
	

	12
	§V.B.11.b
	Sample Rejection Policy describing the circumstances under which a tuning fork would not be accepted for testing
	
	
	

	13
	§V.B.11.c
	Procedures for labeling and disposition of rejected tuning forks
	
	
	

	14
	§V.B.11.d
	Instructions for instrument setup, fitness for use testing and documentation, and acceptance criteria
	
	
	

	NOTE 1: For conventional tuning forks, instructions to include striking the tuning fork on a nonmetallic object and waiting for a stable output before recording the observed frequency.
NOTE 2: For Eagle 3 Electronic Tuning Forks (ETF), instructions to specifically describe the evaluation process per Kustom Signals Service Bulletin 1765 Rev A.

	FOR CONVENTIONAL TUNING FORKS :The procedure and criteria for testing tuning forks submitted by law enforcement agencies for certification and documenting test results, to include [Section V.B.11.e]:

	15
	§V.B.11.e.i
	Time allowed for tuning forks to come to temperature equilibrium prior to testing
	
	
	

	16
	§V.B.11.e.ii
	Reference tuning forks tested prior to beginning testing and at the conclusion of each day on which testing occurred
	
	
	

	17
	§V.B.11.e.iii
	Frequency of oscillation of each reference tuning fork shall be within ±0.5% of that specified by the manufacturer or the most recent independent certification
	
	
	

	18
	§V.B.11.e.iv
	Temperature of the test environment recorded prior to testing each sample set and at the end of the sample set
	
	
	

	19
	§V.B.11.e.v
	Temperature of the test environment not less than 20°C (68°) and not greater than 30°C (86°).
	
	
	

	NOTE: A laboratory should consider monitoring humidity at the testing site if the possibility of exceeding 10%-85% is suspected.

	20
	§V.B.11.e.vi
	At least 2 frequency observations recorded and averaged for the calculation of MPH
	
	
	

	21
	§V.B.11.e.vii
	A description of calculations used with sufficient detail to ensure the report produced by the analyst can be verified by reconstructing the calculation
	
	
	

	Notes/Comments:




	#
	Protocol

Reference
	Quality Manual Requirement
	Laboratory

Reference
	DCLS INTERNAL USE ONLY  

	
	
	
	
	Document Compliant
	Assessor’s Notes

	Operating frequencies and calculations

K band: 24,050 MHz





K band speed, mph = Average observed frequency (Hz) / 72.0301

Ka band: 33,400 MHz to 36,000 MHz



Ka band speed, mph = Average observed frequency (Hz) / (2.983135 x nominal microwave frequency, GHz)

	Nominal Ka Microwave frequencies by manufacturer:

· Decatur / KSI: 35.5 GHz

· MPH: 33.8 GHz

· Stalker: 34.7 GHz

	22
	§V.B.11.e.viii
	Each page of test documentation dated and initialed by the analyst
	
	
	

	FOR EAGLE 3 ETF : The procedure and criteria for testing tuning forks submitted by law enforcement agencies for certification and documenting test results, to include [Section V.B.11.f]:

	23
	§V.B.11.f.i
	A minimum of 2 repetitions of the Service Bulletin 1765 Rev A procedure, results recorded, duplicates matching or a third repetition done
	
	
	

	24
	§V.B.11.f.ii
	Each page of test documentation dated and initialed by the analyst
	
	
	

	25
	§V.B.11.f.v
	Certification to occur when specifications of Service Bulletin 1765 Rev A are met, within ± 5 Hz
	
	
	

	Processes for reviewing and reporting test data and calculations, to include [Section V.B.11.g, h]:

	26
	§V.B.11.g.i,iii
	Verification that measurements of the reference tuning forks were within the acceptance criteria of ±0.5% of the most recent certified values for conventional tuning forks or ±5 Hz for Eagle 3 ETF
	
	
	

	27
	§V.B.11.g.ii
	Review of the new certificate generated by the lab against the raw test data and sample submission information for each tuning fork tested
	
	
	

	28
	§V.B.11.g.iv
	Data review documented with date and initials of reviewer
	
	
	

	29
	§V.B.11.g.v
	Final reports notarized
	
	
	

	30
	§V.B.11.h
	Processes for customer notification as well as labeling and disposition of tuning forks that fail the certification testing
	
	
	

	Notes/Comments:



	Training procedures per Section 12 must address, separately, both the training for conventional tuning fork testing and for the Eagle 3 ETF, if applicable, as follows: 
NOTE:  Form 55131 may be used to document Eagle 3 ETF training

	31
	§V.B.12.a
	Training Goal - a concise statement identifying the overall training goal and results expected
	
	
	

	32
	§V.B.12.b
	Learning Objectives - a clear statement of the capabilities expected of the technician upon completion of the training
	
	
	

	33
	§V.B.12.c
	Learning Methods and/or Activities - specific actions facilitating the achievement of the learning objectives
	
	
	

	34
	§V.B.12.d
	Documentation - evidence, with signatures and dates, that the learning activities were performed and evaluated
	
	
	

	35
	§V.B.12.e
	Criteria - specific measures and criteria indicating the effectiveness of the training
	
	
	

	36
	§V.B.12.f
	Evaluation - an assessment of the documentation against the criteria to determine whether the learning objectives were achieved, or whether additional training may be necessary
	
	
	

	A Demonstration of Capability (DOC) procedure that outlines a procedure for establishing technician competence in testing and establishes acceptance criteria for the evaluation of analyst capability. [Section V.B.13]
Each technician employed by a commercial facility shall perform a demonstration of capability as follows:

	37
	§V.B.13.a
	Conventional TF: Perform a minimum of 20 consecutive frequency observations of each reference tuning fork
	
	
	

	38
	§V.B.13.a
	Conventional TF: Calculate the mean and standard deviation of each data set; reviewed against evaluation criteria
	
	
	

	39
	§V.B.13.b
	Eagle 3 ETF: Demonstrate correct identification of TP5 and ground on the remote control device
	
	
	

	40
	§V.B.13.b
	Eagle 3 ETF: Perform a minimum, of 5 consecutive cycles recording 2 frequency readings per cycle
	
	
	

	41
	§V.B.13.b
	Eagle 3 ETF: Calculate the mean; review data against evaluation criteria
	
	
	

	NOTE:  At a minimum, the frequency of oscillation of each reference tuning fork shall be within ±0.5% of that specified by the manufacturer or the most recent independent certification. [§V.B.13.b]

	Notes/Comments:




	#
	Protocol

Reference
	Quality Manual Requirement
	Laboratory

Reference
	DCLS INTERNAL USE ONLY  

	
	
	
	
	Document Compliant
	Assessor’s Notes

	Recordkeeping Policies and Practices [Section V.B.14]

	42
	§V.B.14.a
	Record Retention Policy
	
	
	

	43
	§V.B.14.b
	Documentation practices
	
	
	

	44
	§V.B.14.c
	Procedures for ensuring the security and integrity of electronic records
	
	
	

	45
	§V.B.15
	A sample copy of a certificate issued to customers as it relates to tuning fork certification
	
	
	

	46
	§V.B.16
	Change sheet to allow historic reconstruction of changes to the Quality Manual
	
	
	

	47
	§V.B.17
	Annual Review and signature sheet
	
	
	

	  Notes/Comments:


	 DCLS Assessor Review 

 Initials: ______________  Date: __________________


Return completed checklist to DCLS (Richmond, VA) with Quality Manual

METHOD CHECKLISTS ARE AN INTERVIEW TOOL USED BY ASSESSORS.  ASSESMENT TO COMPLIANCE WITH THIS METHOD MAY REQUIRE REFERENCE TO THE PUBLISHED METHOD FOR ADDITIONAL DETAIL.  REFER TO FULL PUBLISHED METHOD WHENEVER INTERNAL AUDITS ARE DONE.  THE PUBLISHED METHOD MAY INCLUDE STATEMENTS REGARDING EXPECTED LABORATORY PRACTICES (INCLUDING BUT NOT LIMITED TO PHRASES DESIGNATED WITH “SHOULD”) WHICH MAY NOT BE CAPTURED IN THIS CHECKLIST.  CHECKLISTS ARE SUBJECT TO CHANGE.  PLEASE NOTIFY DCLS IMMEDIATELY BY EMAIL OF ANY IDENTIFIED ERRORS OR OMISSIONS.  (Lab_Cert@dgs.virginia.gov)

Document #:6957
Revision: 11
Date Published: 06/04/24
Issuing Authority: Group Manager
Page 1 of 4
Title: Tuning Fork Laboratory Quality Manual Checklist
Document #:6957
Revision: 11
Date Published: 06/04/24
Issuing Authority: Group Manager

Page 4 of 4      


